|  |  |
| --- | --- |
| Standard | ‰ Average (±SD)  |
| JCp-1 (n=20) | 24.3 (±0.5) |
| JCt-1 (n=20) | 16.1 (±0.7) |
| NIST610 (n=40) |  0.1 (±0.3) |
| NBS951 (n=40) |  -0.1 (±0.3) |

**Supplemental Table S1** The  11B standard results (average ±SD) measured from the same conditions as the coral analysis. Uncertainties reported at the 95% confidence.