## Tabelle1
Geostandards and Geoanalytical Research 2022, Online Supporting Information
A New Calcium Carbonate Nano-Particulate Pressed Powder Pellet (NFHS-2-NP) for LA-ICP-OES, LA-(MC)-ICP-MS and µXRF
Boer et al. (GGR, 2022)
Table S7.
Example of the results from a homogeneity test on a single nano-pellet. Example of the B/Ca ratio [mmol/mol] results from a homogeneity test on a single Nano-Pellet.
It shows the mean, standard deviation (s) and RSD% both within and between the seven analytical Zones (Figure 2).
The within-zone evaluation is in the rows below Run 1–3, the between-zone evaluation is in the columns to the right of Zone 1–7.
| Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5 | Zone 6 | Zone 7 | Mean | 1s | RSD%
Run 1 | 0.075232 | 0.077914 | 0.076913 | 0.078751 | 0.079705 | 0.077381 | 0.082746 | 0.078377 | 0.0023887 | 3.0477
Run 2 | 0.075676 | 0.07466 | 0.079775 | 0.079034 | 0.075819 | 0.078151 | 0.080718 | 0.07769 | 0.0023192 | 2.9852
Run 3 | 0.07817 | 0.07835 | 0.07729 | 0.079509 | 0.075701 | 0.078811 | 0.075632 | 0.077638 | 0.0015036 | 1.9367
Mean | 0.076359 | 0.076975 | 0.077992 | 0.079098 | 0.077075 | 0.078114 | 0.079699
1s | 0.0015839 | 0.002016 | 0.001555 | 0.00038332 | 0.0022785 | 0.00071583 | 0.0036647
RSD% | 2.0743 | 2.619 | 1.9938 | 0.48461 | 2.9562 | 0.91639 | 4.5982